Weather Protection Grille Model ALA-R

Specification texts

Weather protection grille type ALA-R in round design consisting of L-shaped profiled frame and horizontal, fixed, rain-repellent blades, distance 50 mm, with mounting holes and back-fitted bird protection grille made of an 8 x 8 mm galvanised perforated plate.

Made of:

-	Galvanised sheet steel (standard)

-	Stainless steel 1.4301 (V2A) / 1.4571 (V4A) powder-coated in the colour sand silver (at an extra charge).

-	Aluminium painted to RAL 9006 (white aluminium) (at an extra charge), not possible in anodised aluminium

Product: SCHAKO type ALA-R