Weather Protection Grille Model ALAS-F 125

Specification texts

Weather protection grilles type ALAS-F 125 especially for facade mounting with fixed rain-repellent blades and back-fitted wire mesh.

Louvres made of galvanised sheet steel, aluminium without surface treatment, aluminium natural colour anodised (E6/EV1) or stainless steel 1.4301 (V2A), painted in the colour sand silver With carrier profile and wire mesh of galvanised sheet steel.

Product: SCHAKO type ALAS-F 125

Accessories:

-	Cover plate

-	Corner piece (-ES), 600 / 600 mm