Weather Protection Grille ALAS-P

Specification texts

Surrounding air grille/multi-leaf damper combination, consisting of a Z-shaped profiled frame with mounting holes, horizontal rain-repellent blades made of galvanised sheet steel, spacing 82.5 mm, and back-fitted galvanised wire mesh, with mounting frame (-ER), made of primed angular steel.

U-shaped profiled, dimensionally stable frame, made of 1.5 mm galvanised sheet steel with profiled connection frame (4-screw duct connection), with joint, opposed adjustable, flow-favouring hollow blades made of profiled galvanized sheet steel. The blades are adjusted by means of external plastic gear wheels arranged on one side. The plastic bearings are temperature-resistant up to + 80°C.

Product: SCHAKO type ALAS-P