Weather Protection Grille ALAS

Specification texts

External air intake or return air grille with fixed, rain-repellent blades and back-fitted wire mesh grid.

-	Frame and blades from galvanised sheet steel, with galvanised wire mesh

Product: SCHAKO type ALAS

-	Frame and blades made of natural or anodised aluminium (E6/EV1), with wire

mesh made of galvanised steel.

Product: SCHAKO type ALAS-Alu

-	Frame and blades made of copper, with wire mesh grille made of stainless steel 1.4301 (V2A).

Product: SCHAKO type ALAS-Cu

Accessories:

-	perforated mounting frame (-ER) made of primed angular steel 30/30/3

(unperforated with pre-delivery)

-	self-regulating plastic heating strip

-	self-regulating plastic "top" heating strip