Floor Swirl Diffuser  Model BDA

Specification texts

Floor swirl diffuser type BDA to be installed in false floors, comprising a plastic swirl plate, with radial slots for clockwise swirl. The high induction created by the swirl quickly reduces both temperature and flow velocity near the floor.

Product: SCHAKO type BDA-K

Swirl plate made of plastic, similar to RAL colour:

BDA-K1	-	RAL 1019 (grey beige)

BDA-K2	-	RAL 7037 (dust-grey)

BDA-K4	-	RAL 8014 (sepia brown)

BDA-K5	-	RAL 9001 (cream)

BDA-K6	-	RAL 9005 (deep black)

Size:

-	150

-	200

-	Highly polished brass swirl plate

Product: SCHAKO type BDA-MH

-	Highly polished aluminium swirl plate

Product: SCHAKO type BDA-AH

Accessories:

-	Mounting ring without flange, without fastening prongs (-EBR1)

-	made of highly polished aluminium

-	made of highly polished brass

-	Mounting ring with flange 12mm, with fastening prongs (-EBR2)

-	made of plastic (BDA-K1-6 only), in the same colour as BDA-K

-	made of highly polished aluminium

-	made of highly polished brass

-	Mounting ring without flange, with fastening prongs (-EBR3)

-	made of highly polished aluminium

-	made of highly polished brass

-	Dirt collection basket (-SFK1) made of galvanised sheet steel, with adjustable basket bottom for volumetric flow regulation.

-	Plenum box (-AK-BDA) made of galvanised sheet steel

-	with rubber lip seal (-GD, NW 200 only) on the connection pipe

-	with thermal insulation

-	internal (-Ii)

-	external (-Ia)