Ceiling supply air / return air diffuser COMBIDQJ

Specification text

Combined ceiling diffuser for supply air and return air type COMBIDQJ

Consisting of a square faceplate, return air in perforated de-sign arranged in the centre, supply air with circular blade pattern. With central pivoting, aerodynamic radially arranged air deflection blades in support blade profile sections made of plastic in a colour similar to RAL 9010 (white) or RAL 9005 (black, STANDARD). Arranged in the outer area, suitable for VAV systems with variable volumetric flows, suitable for cooling mode up to -10K. With faceplate made of sheet steel with high-quality powder coating, painted sheet steel RAL 9010 (white - STANDARD). With concealed screw mounting.

Product: SCHAKO type COMBIDQJ

Accessories:

-    Plenum box (-SAKC) made of galvanised sheet steel with 2 lateral connecting pieces

-   with rubber lip seal on both connecting pieces (-GD1)

-   with damper and cable-operated adjustment on both connecting pieces (-DK2)