Ceiling supply air / return air diffuser COMBIPIL

Specification text

Combined ceiling diffuser for supply air and return air type COMBIPIL

Consisting of an easy to clean square perforated sheet steel faceplate, return air in perforated design arranged in the centre, supply air in perforated design, arranged in the outer area, with an air deflection blade on the inside, suitable for VAV systems with variable volumetric flows, suitable for cooling mode up to -10K. With faceplate made of sheet steel with high-quality powder coating, painted sheet steel RAL 9010 (white - STANDARD). With concealed screw mounting.

Product: SCHAKO type COMBIPIL

Accessories:

-    Plenum box (-SAKC) made of galvanised sheet steel with 2 lateral connecting pieces

-	with rubber lip seal on both connecting pieces (-GD1)

-	with damper and cable-operated adjustment on both connecting pieces (-DK2)