Round Duct Grille Model DBB-R

Specification texts

Supply air round duct grille, consisting of sheet steel frame painted to RAL 9010 (white) with front side horizontal pivoting air deflection blades made of plastic similar to RAL colour 9005 (black), RAL 9010 (white), RAL 9006 (grey), painted aluminium (subsequent adjustment of blades not possible) or natural anodized aluminium E6/EV1. Fastening by means of screw mounting (SM).

Product: SCHAKO type DBBR-1-Z-...

-	with hit-and-miss damper made of electrolytically galvanised sheet steel for air volume regulation

Product: SCHAKO type DBBR-8-Z-...

-	for return air, without air deflection blades

Product: SCHAKO type DBBR-1-A-...

-	for return air with hit-and-miss damper made of electrolytically galvanised sheet steel for air volume regulation.

Product: SCHAKO type DBBR-8-A-...