Round Duct Nozzle Jet Diffuser Type DSARR

Specification texts

Round duct nozzle jet diffuser for supply air, suitable for connection to DIN ducts.

-	With fixed nozzles

Product: SCHAKO type DSARR-F-...

-	With individually manually adjustable nozzles.

Product: SCHAKO type DSARR-V-...

-	Nominal width:

-	200 mm (-200)

-	224 mm (-224)

-	250 mm (-250)

-	280 mm (-280)

-	315 mm (-315)

-	355 mm (-355)

-	400 mm (-400)

-	450 mm (-450)

-	500 mm (-500)

-	560 mm (-560)

-	630 mm (-630)

-	Length:

-	1-part: 500 / 750 / 1000 (-0500/-0750/-1000).

-	2-part: 1500 / 1750 / 2000 (-1500/-1750/-2000).

-	Material and paint (round duct):

-	Galvanised sheet steel (-SV-0000).

-	Sheet steel painted to RAL 9010 (white) (standard, -SB-9010)

-	Sheet steel painted to a freely selectable RAL colour (-SB-xxxx) (colour always with 4 digits).

-	Nozzle colour:

-	Plastic similar to RAL colour 9005 (black, standard) (-DS).

-	Plastic similar to RAL colour 9010 (white).

-	Nozzle rows:

-	1 (-1, standard).

-	2 (-2).

-	4 (-4) (from NW 400).

-	Mounting position:

-	3 o'clock (-3U).

-	6 o'clock (-6U, standard).

-	9 o'clock (-9U).

-	12 o'clock (-0U).

-	Fastening methods:

-	fastening hole

-	without fastening hole (-B0).

-	with fastening hole ø11.5 mm (-BB, standard).(Prepared for suspended installation by using an M8 threaded rod and an M8 nut to be provided on site).

Accessories (at an extra charge):

-	Hit-and-miss damper:

-	without hit-and-miss damper (-SN) (standard).

-	With integrated hit-and-miss damper (-SS) for simple air volume and ductwork regulation, made of the same material as the round duct.

-	Rubber lip seal

-	without rubber lip seal (-GD0) (standard).

-	with rubber lip seal (-GD1), on both sides, made of EPDM.

For more accessories, please refer to the separate documentation "Round duct system accessories".duct system accessories".