Floor diffuser with louvre grille FBR

Specification text

FBR floor diffuser with louvre grille, designed for installation in raised floors and solid floors, mainly in the edge area. Suitable for use in supply and extract air systems and as an accessory for installations with floor convectors. Consisting of profile grille and extruded aluminium blades and plenum box made of galvanised sheet steel.

Product:	SCHAKO

Type:	FBR

Corner piece for FBR floor diffuser with louvre grille. Consisting of profile grille and extruded aluminium blades and plenum box made of galvanised sheet steel.

Product:	SCHAKO

Type:	FBRZ

Tread-resistant grille insert for FBR and FBRZ devices. Consisting of a profile grille and extruded aluminium blades and plenum box made of galvanised sheet steel.

Product:	SCHAKO

Type:	TGER

### FBR models

Type

Floor diffuser with louvre grille							-FBR

Material

Galvanised sheet steel							-M

V2A stainless steel							-A

Width

Width in mm, freely selectable							-xxx

Height

Height in mm, freely selectable							-xxx

Length

Length (L or BL) in mm, freely selectable							-xxxxx

Grille support / frame

Frame in black matt anodised aluminium							-G1

Frame in natural colour anodised aluminium							-G2

Frame in bronze matt anodised aluminium							-G3

Frame in gold matt anodised aluminium							-G4

Frame in anodised aluminium in stainless steel colour						-G5

Tread-resistant grille insert

Without grille							-000

Linear grille, 8 mm blade spacing							-L08

Roll-down grille, 8 mm blade spacing							-R08

Roll-down grille, 10 mm blade spacing							-R10

Roll-down grille, 12 mm blade spacing							-R12

Grille fastening

Without fastening							-0

With fastening							-F

Grille insert colour

Without grille							-0

Black matt anodised aluminium							-1

Natural colour anodised aluminium							-2

Bronze matt anodised aluminium							-3

Gold matt anodised aluminium							-4

Anodised aluminium in stainless steel colour							-5

End piece

Without end piece							-0

End pieces on both sides							-Z

End piece on the left							-L

End piece on the right							-R

Position of the primary air connection spigot

Without spigot							-P0

On the left side							-P1

On the right side							-P2

On the long, room-facing side							-P3

On the underside							-P4

Spigot diameter

Without spigot							-0

DN78							-1

DN98							-2

DN123							-3

DN158							-4

DN198							-5

DN248							-6

Rubber lip seal

Without rubber lip seal							-0

With rubber lip seal							-G

Number of spigots

Without spigot							-0

Number of spigots freely selectable							-x

Damper

Without damper							-D0

With damper							-D1

External coating

Plenum box painted in RAL 9005 (black)							-A1

Plenum box painted in black with polyester powder for corrosion protection			-A2

Plenum box painted in RAL 9005 (black) with 3 mm impact sound insulation bonded

over the entire surface							-A3

Plenum box painted in black with polyester powder for corrosion protection,

3 mm impact sound insulation bonded over the entire surface					-A4

Internal elements

Without internal elements							-I0

With perforated plate for air diffusion							-I1

With hit-and-miss damper							-I2

With perforated plate for air diffusion and hit-and-miss damper					-I3

With ISO Coarse 40 % filter mat							-I4

With ISO Coarse 40 % filter mat and hit-and-miss damper 					-I5

Adjustable feet

without adjustable feet							-00

Adjustable feet 70 mm							-07

Adjustable feet 130 mm							-13

Protective mounting cover

Without protective mounting cover							-M0

With cardboard insert							-M1

With tread-resistant wooden insert 							-M2

### FBRZ models

Type

Accessories for FBR floor diffuser							-FBRZ

Material

Galvanised sheet steel							-M

V2A stainless steel							-A

Building type

Floor duct with central sound insulation							-S

Corner piece							-E

Bevelled on the left side							-L

Bevelled on the right side							-R

Width

Width in mm, freely selectable							-xxx

Height

Height in mm, freely selectable							-xxx

Length

Length in mm, freely selectable							-xxxx

Angle

Angles in degrees, freely selectable							-xxx

Grille support / frame

Frame in black matt anodised aluminium							-G1

Frame in natural colour anodised aluminium							-G2

Frame in bronze matt anodised aluminium							-G3

Frame in gold matt anodised aluminium							-G4

Frame in anodised aluminium in stainless steel colour						-G5

Tread-resistant grille insert

Without grille							-000

Linear grille, 8 mm blade spacing							-L08

Roll-down grille, 8 mm blade spacing							-R08

Roll-down grille, 10 mm blade spacing							-R10

Roll-down grille, 12 mm blade spacing							-R12

Grille fastening

Without fastening							-0

With fastening							-F

Grille insert colour

Without grille							-0

Black matt anodised aluminium							-1

Natural colour anodised aluminium							-2

Bronze matt anodised aluminium							-3

Gold matt anodised aluminium							-4

Anodised aluminium in stainless steel colour							-5

End piece

Without end piece							-0

End pieces on both sides							-Z

End piece on the left							-L

End piece on the right							-R

External coating

Plenum box painted in RAL 9005 (black)							-A1

Plenum box painted in black with polyester powder for corrosion protection			-A2

Plenum box painted in RAL 9005 (black) with 3 mm impact sound insulation

bonded over the entire surface							-A3

Plenum box painted in black with polyester powder for corrosion protection,

3 mm impact sound insulation bonded over the entire surface					-A4

Internal elements

Without internal elements							-I0

With perforated plate for air diffusion							-I1

With ISO Coarse 40 % filter mat							-I4

Adjustable feet

without adjustable feet							-00

Adjustable feet 70 mm							-07

Adjustable feet 130 mm							-13

Protective mounting cover

Without protective mounting cover							-M0

With cardboard insert							-M1

With tread-resistant wooden insert 							-M2

TGER versions

Type

Tread-resistant grille insert/frame							-TGER

Building type

Straight grille/frame							-G

Corner piece							-E

Bevelled on the left side							-L

Bevelled on the right side							-R

Width

Width in mm, freely selectable							-xxx

Length

Length (L or BL) in mm, freely selectable							-xxxxx

Angle

Angles in degrees, freely selectable							-xxx

Grille support / frame

Without frame							-00

Frame in black matt anodised aluminium							-G1

Frame in natural colour anodised aluminium							-G2

Frame in bronze matt anodised aluminium							-G3

Frame in gold matt anodised aluminium							-G4

Frame in anodised aluminium in stainless steel colour						-G5

Tread-resistant grille insert

Without grille							-000

Natural colour anodised aluminium							-L08

Bronze matt anodised aluminium							-R08

Gold matt anodised aluminium							-R10

Anodised aluminium in stainless steel colour							-R12

Grille fastening

Without fastening/without grille							-0

With fastening							-F

Grille insert colour

Without grille							-0

Black matt anodised aluminium							-1

Natural colour anodised aluminium							-2

Bronze matt anodised aluminium							-3

Gold matt anodised aluminium							-4

Anodised aluminium in stainless steel colour							-5

Wall anchor

Without wall anchor							-0

With wall anchor							-1