# Ventilation Grille LK

## Specification text

Supply and return air grille type LK-1 made of plastic (Hostalit Z), colour grey. With individually adjustable, horizontal air deflection blades on the front side and visible screw mounting (-SM).

Product: SCHAKO type LK-1

-	Type LK-2, additionally with vertical, individually adjustable air deflection blades. 	Product: SCHAKO type LK-2

-	Type LK-3, additionally with vertical, individually adjustable plastic ladle blades. 	Product: SCHAKO type LK-3

Accessories:

-	Mounting frame (-ER1), comprising electrolytically galvanised sheet steel.

-	Installation frame with wall anchors (-ER2) made of electrolytically galvanised sheet 	steel