Louvre airflow grille LL

Specification texts

Louvre airflow grille with fixed punched slots made of galvanised sheet steel or sheet steel painted to RAL 9010 (white).

Product: SCHAKO type LL

Accessories:

-	Mounting frame (-ER1), made of electrolytically galvanised sheet steel

-	Mounting frame (-ER2), made of electrolytically galvanised sheet steel with wall anchors