Nozzle jet diffuser for small air volumes MINODSA

Specification text

Nozzle jet diffuser MINODSA-1, for mounting in walls and ceilings as supply air element for small air volumes. With 7 individually adjustable nozzles made of plastic, similar to RAL colour 9010 white (-D9010) or RAL 9005 black (-D9005). Sheet steel faceplate painted to RAL 9010 white (-F9010) or to a different RAL colour (-Fxxxx), with plenum box made of galvanised sheet steel, with spigot from behind (-A0). Faste-ned by concealed mounting.

Product: SCHAKO type MINODSA-1

-	With 14 individually adjustable nozzles made of plas-tic, similar to RAL colour 9010 white (-D9010) or RAL 9005 black (-D9005).

Product: SCHAKO type MINODSA-2

-	with plenum box made of galvanised sheet steel, with lateral spigot (-A1)

Accessories:

-	With rubber lip seal (-GD1) at the connection spigot

-	With damper (-DK1)

-	With universal fastening (-BU)