Filter Grille Model RF

Specification texts

Return air filter grille consisting of a frame, dry filter mat (ISO Coarse >45%) and fitted, replaceable filter grille insert made of sheet steel painted in RAL 9010 (white) (-SB-9010).

Fastening by means of screw mounting (-SM).

Product: SCHAKO type RF

- made of stainless steel 1.4301 (V2A) painted in the colour sand silver (-V2-SAND)

Accessories:

-	Installation frame (-ER1), made of electrolytically galvanised sheet steel, without wall anchors

-	Mounting frame (-ER2), made of electrolytically galvanised sheet steel, with wall anchors