Fire Damper Disc Valve SVA-FF

Specification texts

Fire damper poppet valve for mounting into ventilation systems in accordance with DIN 18017-3, or ventilation systems according to DIN 18017-3, for which the supply air is introduced through ducts. Fire resistance class K90-18017.

The valve is fixed in the mounting frame (-ER; included in the scope of delivery) by means of detachable bayonet socket.

Continuous volumetric flow rate control

Installation inside/outside fire-resistant ventilation ducts or shafts.

Valve body and disc, made of sheet steel painted to RAL 9010 (white).

Approval certificate number: Z-41.3-674

Make: SCHAKO type SVA-FF

Alternative model (upon request and at an extra charge)

Valve body and disc, made of sheet steel, painted to RAL colours