Cross-Talk Sound Attenuator Model TSR

Specification texts

Duct silencer type TSR in round design suitable for round ductwork connection. Outer casing made of 1.0 - 1.5 mm thick galvanised sheet steel with connection spigot. Internal annular chamber with mineral wool filling and perforated sheet cover.

Product: SCHAKO type TSR