Poppet Valve Model TVO

Specification texts

Poppet valve for return air, comprising a round front frame made of plastic colour similar to RAL 9010 (white) and circumferential cellular seal. With adjustable quantity control plate made of plastic and similar to RAL 9010 (whtie) to control the air volume. For ceiling assembly or wall mounting. Counter nut to ensure the air volume setting and threaded spindle made of steel. Mounting ring made of galvanised sheet steel. Mounting with springs on front frame.

Product: SCHAKO type TVO

Accessories:

-	Panelled cover plate (-PA) made from sheet steel, with integrated mounting ring, painted to RAL 9010 	(white).

-	Saddle bracket (-SA) with integrated mounted ring made of galvanised sheet steel.