Long throw nozzle grille with integrated duct WGARR

Specification texts

Round duct long range grille suitable for supply air, matching connection to DIN-ducts. With integrated, individually and manually adjustable nozzles, pivoting range 45°.

Product: SCHAKO type WGARR

-	Nominal width:

-	200 mm (-200)

-	224 mm (-224)

-	250 mm (-250)

-	280 mm (-280)

-	315 mm (-315)

-	355 mm (-355)

-	400 mm (-400)

-	450 mm (-450)

-	500 mm (-500)

-	560 mm (-560)

-	630 mm (-630)

-	Length

-	1-part: 500 / 750 / 1000 (-0500/-0750/-1000)

-	2-part: 1500 / 1750 / 2000 (-1500/-1750/-2000)

-	Material and paint (round duct):

-	Galvanised sheet steel (-SV-0000).

-	Sheet steel painted to RAL 9010 (white) (standard, -SB-9010).

-	Sheet steel painted to a freely selectable RAL colour (-SB-xxxx) (colour always with 4 digits).

-	Nozzle colour:

-	Plastic similar to RAL colour 9006 (white aluminium) (-DA).

-	Plastic similar to RAL colour 9007 (grey aluminium) (-DG).

-	Plastic similar to RAL colour 9005 (black, standard) (-DS).

-	Plastic similar to RAL colour 9010 (white) (-DW).

-	Nozzle rows

-	one row of nozzles (-1)

-	two rows of nozzles (-2) (available from NW 400)

-	Mounting position

-	3 o'clock (-3U)

-	6 o'clock (-6U, standard)

-	9 o'clock (-9U)

-	12 o'clock (-0U)

-	Fastening methods:

-	fastening hole

-	without fastening hole (-B0)

-	with fastening hole ø11.5 mm (-BB, standard)(Prepared for suspended installation by using an M8 threaded rod and an M8 nut to be provided on site.)

Accessories (at an extra charge):

-	Hit-and-miss damper:

-	Without hit-and-miss damper (-SN, standard).

-	With integrated hit-and-miss damper (-SS) for simple air volume and ductwork regulation, made of the same material as the round duct.

-	Rubber lip seal:

-	without rubber lip seal (-GD0, standard).

-	with rubber lip seal (-GD1), on both sides, made of EPDM.

For more accessories, please refer to the separate documentation "Round duct system accessories".